Additional Notes for HP 1950 Catalog Scans

Interestingly, there was not a master index for this catalog -- at least not in my photocopy -- there might have been a fold-out index on the inside front cover that did not get copied for me.  The general index is on page 1 and there is a subsection index for most of the major headings as shown on the various scans.  However there is no index (probably because the list of items was so short) for the following headings under the general index on page 1.  A variety of probes, cables, and accessories are not listed here.

PULSE GENERATOR

HP 212A Pulse Generator, 0.07 - 10.0 usec., 50 - 5000 pps	$550.00	page 28

POWER SUPPLIES

HP 710A Power Supply Unit, 180 - 360 volts			$85.00	page 58

HP 712A Power Supply, 0 - 500 volts, 200 ma.			$250.00	page 59

ATTENUATORS

HP 350A Attenuator, 0 - 110 dB, 500 ohm				$50.00	pp 60-61

HP 350B Attenuator, 0 - 110 dB, 600 ohm				$50.00	pp 60-61

AMPLIFIERS

HP 460A Wide Band Amplifier, 200 MHz bandwidth, 20 dB gain	$185.00	pp 62-63

HP 450A Amplifier, 1 MHz bandwidth, 20/40 dB gain		$140.00	page 64